SECTION 09000

Acoustical Plaster System

PART 1 GENERAL

  - SUMMARY

- The BASWA Phon Acoustical Plaster System is used to reduce reverberation time, making voice, music, and other sound much more intelligible.  Its design is based on a fine porous surface that appears to be solid, applied onto a mineral wool panel.  High frequency sound energy passes through the pores, into the mineral wool, and is converted into heat energy.  Low frequency sound energy vibrates the porous surface diaphragmatically, and is converted into heat energy.

- The BASWA Phon Acoustical Plaster System is a complete manufactured system.  Components of the system are as follows: a BASWA Phon Pre-Coated panel which is made with made of randomly spun anti-sagging mineral wool fibers which are pre-coated in the factory with recycled glass microspheres; the pre-coated panel is adhered to a stable substrate with BASWA plaster based adhesive.  The “V” groove seam between the panels, formed by the beveled edges on the glass microsphere pre-coating, is filled with BASWA Fill.  A coat of BASWA Base is thereafter applied onto the panels on site, then troweled smooth, to give the appearance of a conventional smooth plaster surface.   All components, including vinyl trims described below, are supplied by the manufacturer.

- The work described in this Section, as shown on Drawings, Finish Schedules, or as specified herein, shall be in accordance with the requirements of the Contract Documents.

  - SECTION INCLUDES

A.  Work in this Section includes all labor, materials, equipment, and services necessary to complete the BASWA Phon Sound Absorptive System, as shown on the drawings, finish schedules, and / or defined and specified herein.

  - RELATED SECTONS

- Carpentry – See Section 06200

- Gypsum Board – See Section 09250

  - QUALITY ASSURANCE

- Certified Installers:

  - All Contractors shall be certified to install the BASWA Phon Acoustical Plaster System by BASWA acoustic North America, LLC (BASWA acoustic) (440.951.6022).

  - SUBMITTALS

- Product Data:

- Samples / Mock-Up:

  - Provide two 8-1/2” x 11” samples of the BASWA Phon Acoustical Plaster System in color as noted in Section 2.1 below. Samples must show the randomly spun mineral wool backing.

  - Job Site Mock-Up:  Install a 4’ x 4’ mock-up of the BASWA Phon Sound Absorptive Plaster System replicating relative details and conditions.  Obtain mock-up acceptance before any additional applications.  Accomplish work to equal, or exceed standard established by accepted job site mock-up.

- Acoustical Performance Data:

  - Certified Acoustical Performance Sound Absorption Test Report data, conducted by a recognized, independent, testing agency, shall be submitted upon request and meet the following minimum requirements. Noise Reduction Coefficient (NRC) for the 2 - 3/4" (70mm) system shall be 1.00 per ASTM C 423-17 Standard Test Method for Sound Absorption and Sound Absorption Coefficients by the Reverberation Room Method for ‘Type A’ Mounting.  Specific performance of the 2 - 3/4" sound absorptive system shall be as follows:

Frequency, Hz	                   Absorption Coefficient

| 80 | 0.17 |
| --- | --- |
| 100 | 0.27 |
| 125 | 0.42 |
| 160 | 0.57 |
| 200 | 0.67 |
| 250 | 0.98 |
| 315 | 1.14 |
| 400 | 1.12 |
| 500 | 1.11 |
| 630 | 1.09 |
| 800 | 1.06 |
| 1000 | 1.01 |
| 1250 | 1.01 |
| 1600 | 1.01 |
| 2000 | 0.97 |
| 2500 | 0.97 |
| 3150 | 0.88 |
| 4000 | 0.81 |
| 5000 | 0.75 |

- Fire Test Data:

  - Certified Reports on Surface Burning Characteristics Determined by ASTM E 84 Twenty-Five Foot Tunnel Furnace Test Method, conducted by a recognized, independent, testing agency, shall be submitted upon request and meet the following minimum requirements:

    - Class A Flame Spread Classification

      - 25 Flame Spread or less

      - 10 Smoke Development or less

- Mold Test Data

  - Certified Reports from an independent, testing agency, shall be submitted upon request and meet the following minimum requirements:

    - Testing per ASTM D 3273-16

      - 10 / 10 – Week 4 – No Defacement

    - Testing per ASTM G – 21 F, attaining a rating of 0.

- Light Reflectance Coefficient Test Data:

  - Certified Reports on Light Reflectance Coefficient Performance Determined by ASTM E 1477-98 Standard Test Method for Luminous Reflectance Factor of Acoustical Materials by Use of Integrating Sphere Reflectometer, conducted by a recognized, independent, testing agency, shall be submitted upon request and meet the following minimum requirements:

    - Light Reflectance Value

      - Light Reflectance Value ‘L’ a minimum of 0.91.

- VOC Emission Test Data:

  - Test Certificate from an independent testing certificate for California Department of Public Health CDPH / EHLB / Standard Method Version 1.2, 2017

    - School Classroom - Compliant

    - Private Office – Compliant

- R-Value:

  - R-Value – 6.83 or greater

  - LEED V4 DATA

- EA Optimized Energy Performance

  - Provides a high R-Value

- MR Building Product Disclosure and Optimization- Environmental Product Declarations

  - Detailed information on the components of panels and finishes have been third-party tested and documented.

- MR Building Product Disclosure and Optimization- Sourcing of Raw Materials

  - Supporting panels contain 92% natural and recycled materials and are made from recycled glass.

  - Finish materials contain 95% recycled materials and are made from aggregate produced during marble stone extraction.

- MR Building Disclosure and Optimization- Material Ingredients

  - HPD documentation and third-party Life Cycle Assessments have been conducted to verify improved life-cycle impacts.

- PBT Source Reduction- Mercury

  - No mercury present in product

- PBT Source Reduction- Lead, Cadmium, and Copper

  - No lead, cadmium, or copper present in product

- MR Construction and Demolition Waste Management

  - Typical installation results in less than 3% waste. Panel scraps are acceptable as glass recycling. Buckets are also recyclable.

- EQ Low-Emitting Materials

  - No VOCs present

- EQ Thermal Comfort

  - Provides a high R-Value

- EQ Interior Lighting

  - High density marble aggregate finish is highly reflective

- EQ Daylight

  - High density marble aggregate finish is highly reflective

- EQ Acoustic Performance

  - NRC of 1.00

- RP Regional Priority

  - Manufactured in Chardon, OH

  - Material extraction in Marble Hill, GA

  - REFERENCES

- ASTM C 423-17:  Standard Test Method for Sound Absorption and Sound Absorption Coefficients by the Reverberation Room Method ‘Type A’ Mounting.

- ASTM E 795-16:  Standard Practices for Mounting Test Specimens During Sound Absorption Tests.

- ASTM E 84:  Standard Test Method for Surface Burning Characteristics and Building Materials.  Class A Fire Rating.

- ASTM C842, Specification and Standards for Application of Interior Gypsum Plaster.

- ASTM E 1477-98 Standard Test Method for Luminous Reflectance Factor of Acoustical Materials by Use of Integrating Sphere Reflectometer.

- VOC Test - California Department of Public Health CDPH / EHLB / Standard Method Version 1.2, 2017

- ASTM D 3273-16, ASTM G – 21 B, and ASTM G – 21 F Mold Resistance and Fungal Resistance Test

  - DELIVERY, STORAGE, AND HANDLING

- Ship and deliver in protective packaging to prevent freight damage.

- Allow materials to become acclimated to Project conditions before installation.

- Store materials in accordance with manufacturer's recommendations in a fully enclosed space where materials will be protected against damage from moisture, surface contamination and other causes.  All wet work must be completed in area of storage.

- Protect BASWA Base Coat from freezing.  Product that has frozen cannot be used and is not warranted.

1.9	PROJECT CONDITIONS

- Environmental Requirements:  Comply with requirements of referenced plaster application standards and recommendations of product manufacturer for environmental conditions before, during, and after installation.

- Temperature Requirements:  Where ambient outdoor temperature at the building site is less than 55⁰ F (13⁰ C), a temperature of not less than 55⁰ F and not more than 80⁰ F shall be maintained continuously in the area of the installation for a period of not less than one week prior to the application of BASWA Phon Acoustical Plaster System. Temporary heat shall be evenly distributed to prevent concentrated uneven heat or cold on the BASWA Phon Acoustical Plaster System or its substrate. Acceptable temperature range shall be maintained until the permanent HVAC system is activated.

- Ventilation:  Ventilate building spaces as required to remove excess moisture to promote drying of the applied materials.

- Protect contiguous work form soiling, splattering, moisture deterioration, and other harmful effects that may be caused by the application of the materials.

PART 2 - PRODUCTS

2.1 	MATERIALS

- Materials and installation shall be based upon the BASWA Phon Acoustical Plaster System’s performance, specifications, information, and details as supplied by BASWA acoustic North America, LLC, 21863 Aurora Rd., Cleveland, OH 44146, www.baswana.com, (440.951.6022).  Other products and installers must meet the design and performance criteria described herein.  No substitutions.

- The BASWA Phon Acoustical Plaster System shall be provided in a total system thickness (adhesive, Pre-Coated mineral wool panels, and Base Coat) of approximately 2 - 3/4" (70mm).

- The BASWA Phon Acoustical Plaster System shall consist of BASWA Phon Pre-Coated mineral wool supporting panels, BASWA panel adhesive, BASWA Fill, and a finish coat of BASWA Base.

- Trim Pieces:

  - All corner beads, terminations, control joints, or other trim pieces shall be white vinyl BASWA proprietary beads.  Specialty beads and reveals in profiles approved by BASWA acoustic shall be white vinyl beads manufactured by either Trim Tex or Vinyl Corp.  Trims shall be installed with Trim-Tex 847 Spray Adhesive; no other adhesive is approved.

- The Base Coat shall be provided in the standard BASWA “natural white” color.

- The Base Coat shall be integrally colored by the addition of pigments provided by BASWA acoustic. Color shall be selected by the Architect or as noted in the Finish Schedule.

- BASWA Protect Surface Protection:

- A spray application of BASWA Protect Surface Protection, supplied by BASWA acoustic shall be applied to the finished surface after system has completely dried for a minimum of 12 hours.  The non-bridging granulate coating resists stains and improves cleanability without negatively affecting acoustical absorption.  Application and coverage shall be per manufacturer’s approved application guidelines.

PART 3 - EXECUTION

3.1 	INSPECTION

- Examine areas where, and conditions under which, the BASWA Phon Acoustical Plaster System is to be installed.  Correct any conditions detrimental to the proper and timely completion of the work.   Do not proceed until unsatisfactory conditions have been corrected in order to permit the proper installation of the work.

- Verify that all mechanical and electrical services within the area of application have been roughed in at the appropriate depth relative to the thickness of the system; tested and approved, prior to commencement of application.  Review approved details provided by BASWA acoustic for verification.

3.2 	ACCEPTABLE SUBSTRATE

- General:

  - The BASWA Phon Acoustical Plaster System must be installed over a “sealed air tight” stable substrate.  All penetrations shall be “closed off” to prevent air from passing through the BASWA Phon Acoustical Plaster System, thereafter through the substrate and then into the plenum above, or vice versa.

  - All HVAC, electrical, fire sprinkler, and other penetrations of the substrate shall be sealed with traditional drywall tape or a self-adhesive fire tape to prevent air movement between the plenum and finished space or vice versa.

  - Adhesive Strength required for bonding to the substrate surface for the application of the BASWA Phon Acoustical Plaster System is a minimum of 17 N/psf.

  - Plywood substrates are not acceptable due to the potential of excessive expansion and contraction movement.

  - All substrates for the application shall not vary from plumb, level, or a “smooth consistent curvature” by more than a total of 1/4 inch in 12 feet.

- Substrate Material:

  - New drywall substrates receiving the full BASWA Phon Acoustical Plaster System shall be a Level One finish; taped only.

  - New drywall substrates receiving BASWA Base Coat only, located in a different plane than those areas receiving the full BASWA Phon Acoustical Plaster System, shall be a Level Four finish; taped, coated, and sanded.  Substrate shall be primed with drywall latex primer.

  - New drywall substrates receiving BASWA Fill and Base Coats only, located in the same plane as areas receiving the full BASWA Phon Acoustical Plaster System, shall be a Level Four finish; taped, coated, and sanded.  Substrate shall be primed with drywall latex primer.

  - Existing substrates with glossy paint, metal surfaces, previously painted drywall, masonry, and concrete, shall be primed with Sherwin Williams Preprite Bonding Primer or equal, installed per paint manufacturer’s specifications. Tint bonding primer.

3.3 	INSTALLATION

- General Information and Requirements:

- Hand Tools:

    - All application of BASWA Phon Pre-Coated mineral wool panels, Fill, and Base Coats must be facilitated by using the proper BASWA stainless steel flat or notched hand trowels supplied by BASWA acoustic.  The proper notched gauging trowels and smoothing trowels shall be used at each step noted below in order to control material thickness.

- Graco Pump (Optional):

    - The BASWA Base and Fine Coats may be applied by using traditional hawk and trowel methods; however, use of the Graco RTX 5000PX, dramatically increases production and greatly reduces product waste.  The proper notched gauging trowels and smoothing trowels shall be used at each step noted below in order to control material thickness.  Graco pump is supplied by BASWA acoustic, Sherwin-Williams, or Graco, Inc.

- Lighting:

    - Inherent in all hand troweled product applications, minor acceptable trowel marks or imperfections in the finished surface may occur and become exposed or “exaggerated” under critical lighting.  Ensure that the lighting used during the entire installation process replicates the actual finished lighting.  All skylights, clearstory windows, and other openings which naturally light the area of the installation shall be uncovered during the entire installation in order to represent finished conditions.

- Drying Times:

    - Drying times for the BASWA panel adhesive, Fill and Base Coats are typically overnight, however, drying times may be longer due to unusual on-site conditions.  Prior to proceeding with any additional work, ensure BASWA panel adhesive, Fill or Base Coat is completely and thoroughly dry.

- Finished Coat Installation:

    - Application of the BASWA Base Coat shall be facilitated in one operation at each area of installation; “cold joints” in the Base Coat are not acceptable.

- Staging:

    - Generally, the BASWA Phon Acoustical Plaster System is installed using full “tiered scaffolding with outriggers” on wall applications and / or a full “dance floor scaffolding” on ceiling applications in order to achieve an acceptable finish without “cold joints”.  Rolling tower scaffolds which can be moved across an installation area may also be acceptable.

- Access Doors in BASWA:

    - Access Doors used in the BASWA Phon Acoustical Plaster System can be flanged or “trim less”. Trim less access door model number 5020, sized as required, manufactured by Acudor Products Inc. (800.722.0501) or similar.  Install per detail approved by BASWA acoustic.

- Securing to BASWA:

    - Light fixtures, ornamentation, speakers, cover plates, or any other items cannot be attached to the BASWA Phon Acoustical Plaster System.  Ensure items are secured to proper blocking or other attachment system independent of the BASWA Phon Acoustical Plaster System per details approved by BASWA acoustic.

- Installation Procedures:

- Install BASWA Phon Acoustical Plaster System materials in accordance with BASWA acoustic’s installation instructions and details. Installation shall start only after all other work in the area of the installation has been completed.

  - Pre-Coated Mineral Wool Panels:

- A field applied 2mm thick layer of BASWA adhesive is applied to the mineral wool back face of the BASWA Phon 66mm thick Pre-Coated panel.  Panel is pressed firmly onto and fully adhered to the stable substrate.  Ensure that panels are set as level and as smooth to each other as practicable.  Stagger joints between panels.

- Factory Kerfed Pre-Coated Panels:  On domed, curved, and warped surfaces, the back face of the mineral wool of the BASWA Phon 66mm thick Pre-Coated panel is kerfed in the factory at 3 inches on center, in one or two directions, to facilitate ease of shaping in either the convex or concave directions.

  - Trim:

- Install white vinyl BASWA proprietary trim pieces. Trims shall be installed with Trim-Tex 847 Spray Adhesive; no other adhesive is approved.

  - Fill:

- Fill seams between BASWA Phon Pre-Coated panels with BASWA Phon Fill and cover all white vinyl trim with BASWA  Fill.  Sand Fill smooth when completely dry.

  - Fill at Domed, Vaulted, and Curved Areas:

- Apply a 2.0 – 3.0mm thick layer of BASWA Phon Fill over domed, vaulted or curved area and over all white vinyl trim where extreme critical light conditions exist or radius is less than 2 feet. Trowel smooth.  Sand smooth when completely dry prior to applying Base.

  - Base (Natural White):

- Prior to applying the layer of BASWA Base, ensure product is thoroughly mixed and all pails for each separate area are batched together in order to provide even consistent coloring.  Apply a 3.0 – 4.0mm thick layer and trowel smooth to a quality level consistent with accepted samples or mock-up.  Note that BASWA is a hand troweled finished product.  Inherent in all hand troweled product applications, minor acceptable trowel marks and other imperfections in the finished surface may occur which are only visible at certain times of day or under certain critical lighting conditions.  The finish should be critically viewed only under end-use lighting conditions.

  - Base (Color):

- If color is specified, prior to applying the layer of BASWA  Base, add one vial of pigment per pail.  Ensure product is thoroughly mixed and all pails for each separate area are batched together in order to provide even consistent coloring.  Apply a 3.0 – 4.0mm thick layer and trowel smooth to a quality level consistent with accepted samples or mock-up.  Note that BASWA is a hand troweled finished product.  Inherent in all hand troweled product applications, minor acceptable trowel marks and other imperfections in the finished surface may occur which are only visible at certain times of day or under certain critical lighting conditions.  The finish should be critically viewed only under end-use lighting conditions.

END OF SECTION

# Text boxes

BASWA Phon 70mm Base Finish

Acoustical Plaster System

Specifier Notes:  This product guide specification is written according to the Construction Specifications Institute (CSI) 3-Part Format.  It must be carefully reviewed and edited by the Architect or Acoustical Consultant to meet the requirements of the project.  Coordinate this section with other specifications sections and the Drawings.

Review and edit all items listed in blue font color or red font color.

Delete all “Specifier Notes” when editing this section by right clicking on box outline.

Specifier Note:  This section covers the BASWA Phon Acoustical System.  Consult BASWA acoustic North America, LLC, 21863 Aurora Rd., Cleveland, Ohio 44146 (440.951.6022), www.baswana.com for assistance in editing this section for your specific application.

Specifier Note:  Edit the following list of related sections as required for the project.  List other sections with work directly related to this section.

Specifier Note:  Choose 1.5B1 or 1.5B2 as applicable.

Specifier Note:  List reference standards in this section, complete with designations and titles. Include or delete Section(s) below as applicable.

Specifier Note:  List reference standards in this section, complete with designations and titles. Include or delete Section(s) below as applicable.

Specifier Note:  Choose 2.1E “natural white” color or 2.1F “integrally colored” as applicable.

Specifier Note:  Determine if the area of the application will be exposed to unusually abusive soiling conditions.  Include or delete Section 2.1G.

Specifier Note:  Determine the substrate condition(s) in the area(s) where BASWA is to be installed.  Include and / or delete Section(s) below as applicable.

Specifier Note:  Determine if BASWA is to be applied to flat, curved, domed, or vaulted areas; include or delete Sections 3.3B1a2 as applicable. Application may be required due to critical light conditions or a tight radius.

Specifier Note:  Determine if BASWA is to be applied to flat, curved, domed, or vaulted areas; include or delete Sections 3.3B1d as applicable. Application may be required due to critical light conditions or a tight radius.

Specifier Note:  Determine if BASWA is specified in natural white or a color; include and / or delete Sections 3.3B1e1 or 3.3B1f1 as applicable.